SPECIFICATION	     	Division 07900

CR(NC)-Series Polycrete 1600/2020 [Ambient Cure] System

________________________________________________________________________________________

PART 1 - GENERAL

1.01	  Summary

A.	Section includes: Furnishing of all materials, labor, and equipment necessary for the surface preparation and the installation of the sealed expansion joints in accordance with the details shown on the plans and these specifications. The designs for the deck condition utilize an extruded compression seal type CR(NC)-Series membrane shape fusion bonded to the concrete deck with Polycrete elastomeric concrete system. The design is arranged to flex in response to joint movement and to seal against the intrusion of water.

B.	Related Sections:

- Section 03300 - Cast-in-place concrete

- Section 07900 - Joint sealant

1.02	   References

A.	American Society for Testing and Materials (ASTM):

- ASTM D412

- ASTM D2240

- ASTM D395

- ASTM D624

- ASTM D792

- ASTM D746

1.03	   Quality Assurance

A.	Application qualifications: The manufacturer of the expansion joint will provide a technically qualified representative who will train the installer on the proper techniques for installing the expansion joint. Each installation will be registered and approved by the manufacturer.

B.	For the purpose of designating type and quality for work of this section, drawings and specifications are based on products manufactured or furnished by the manufacturer listed in Part 2 of this section. No other products will be considered for use.

C.	Execute work of this section by skilled, trained applicators conforming to installation methods and procedures in accordance with the manufacturer’s printed instructions. The applicator must be approved by the manufacturer.

D.	Do not proceed with the work until surfaces to receive the expansion joints have been inspected by the engineer and approved by the manufacturer. Correct any deficiencies in the surfaces to receive the expansion joints, as recommended by the manufacturer and engineer.

E.	Do not proceed with the work when temperatures are below 40°F, expected to fall below 40°F, or above 90°F, unless approved in writing by the manufacturer.

F.	Manufacturer will have a minimum of five (5) years’ experience specializing with elastomeric concrete.

1.04    Submittals

A.	Submit in accordance with this specification, unless otherwise indicated.

B.	Product Data:  Manufacturer’s specifications and technical data including the following:

- Manufacturer’s installation instructions

- Certified test reports indicating compliance with performance requirements specified herein

C.	Shop Drawings:  Indicate dimensioning, membrane size, model number, general construction, specific modifications, component connections, anchorage methods, and installation procedures, plus the following specific requirements:

- Temperature/Adjustment Table, indicating joint width at various temperatures

- Dimensions based on anticipated movement for the joint location, as supplied by the engineer

D.	Quality Control Submittals:

- Statement of Qualifications

- Design Data

- Test Reports

- Manufacturer’s Field Reports

E.	Contract Close-out Submittals: In accordance with these Specifications, submit:

- Operating and Maintenance Manuals

- Warranty Documentation

1.05	    Delivery, Storage and Handling

A.	Packing and Shipping: Deliver products in original, unopened packaging with labels and seals unbroken.

B.	Storage and Protection: Store materials in accordance with manufacturer’s recommendations in area protected from weather, moisture, open flame, and sparks. Adhesive must be stored at temperatures between 40° F and 90° F.

1.06    Warranty

A.	Warranty will state that the material and installation of the joint system complies with requirements of the contract documents and the manufacturer’s printed instructions for installing the expansion joints.

B.	Warranty will state the responsibility of the installer/manufacturer to stand behind the installed system for the warranty period indicated and for the conditions listed below:

- Leakage of the parking deck system, including points in transition

- Abrasion and wear of the materials resulting from normal traffic loading

- Cracking of the elastomeric concrete material and de-bonding between it and the concrete

PART 2 - PRODUCTS

2.01	  Manufacturers

A.   The winged compression seal type membrane shape will be the following:

- CR(NC)-Series Membrane profile as supplied by EMS, Inc., 13311 Main Road, Akron, NY 14001  Phone: (716) 542-3991 Fax: (716) 542-3996  Website:  www.eriemetal.com

- Elastomeric Concrete header material will be the following:

1.	Polycrete 1600 Elastomeric Concrete by EMS, Inc., 13311 Main Road, Akron, NY 	14001 Phone: (716) 542-3991 Fax: (716) 542-3996   Website:  www.eriemetal.com

- Elastomeric Concrete bedding material will be the following:

1.	Polycrete 2020 Bedding Material by EMS, Inc., 13311 Main Road, Akron, NY 14001  	Phone: (716) 542-3991 Fax: (716) 542-3996  Website:  www.eriemetal.com

2.02	  Components and Materials

- Elastomeric Membrane: The extruded configuration will be an EPDM-based, Thermoplastic Rubber material meeting the specifications prescribed in the manufacturer’s product data sheet and ASTM D2000. The material meets the following physical requirements:

PHYSICAL PROPERTIES                  TEST METHOD                     TYPICAL VALUES

Hardness, shore A duro.                               	ASTM D-2240		          	       Thermoplastic Rubber

Specific gravity                                                	ASTM D-792         		          	67A

Tensile strength, psi                                         	ASTM D-412                          		1000 psi

Ultimate elongation, %                                     	ASTM D-412                               	410%

100% Modulus, psi                                           	ASTM D-412                               	420 psi

Compression set, 168 hrs.                                	ASTM D-395 method B               	24% @ 77°F

36% @ 212°F

Tension set, %                               	   	      	ASTM D-412                                	10%

Tear strength, pli                          			ASTM D-624                                	140 pli @ 77°F

75 pli @ 212°F

Brittle point                                                    	ASTM D-746                          		<-81°F

IMPORTANT!  The thermoplastic rubber material can be heat-spliced to form transitions at the end conditions, around columns, etc. Any heat splicing to be done in the field will follow approved methods, as recommended by the manufacturer.

B.	Elastomeric Concrete: Polycrete 1600 is a fast-setting, elastomeric, 100% solid, two-component 	urethane/epoxy system. The resins are mixed with a pre-measured sand and stone combination 	to form the mortar mix.

PHYSICAL PROPERTIES               TEST METHOD                               REQUIREMENT

Tensile strength, min.                                             ASTM D-412                          		2000 psi

Elongation @ break, min.                                     ASTM D-412                      		50 %

Hardness, Type A duro.                                       ASTM D-2240                      	          	85A

Solids content                                                                                      	                           	100%

Tear strength, die C, min.                                       ASTM D-624                         	          	225pli

Abrasion resistance,                                                                              	                          	.00035 oz.

loss per 1,000 cycles

Tensile adhesion,                                        ASTM C-501 (CS17 wheel)    	   	                  400 psi (concrete fails)

samples cured 5 days at 90°F

50% RH

Mixing ratio                                                                                                                       	1:1 (part A & B)

Pot life                                                                                                      	                          10 - 12 minutes

Set time                                                                                                      	                          4 - 8 hours

PART 3 - EXECUTION

3.01	  Inspection

A.    Prior to installation of the expansion joint profile, the installer will visit the site and notify 	the proper authority in writing of any conditions, (done under other sections) which might be 	detrimental to the installation or performance of the expansion joint. Coordinate the installation 	with related work.

3.02     Preparation of Surfaces of Block-Out Recess in Deck

A.     Construct the block-out recess and joint opening to the dimensions shown in the 		manufacturer’s literature. The width of the joint opening should comply with the dimension 	shown in the temperature/adjustment table on the contract plans. The anticipated movement 	should be within the movement limits of the CR(NC)-Series membrane size selected for use.

B.     All surfaces to receive the elastomeric concrete will be dry, clean, and sound concrete, free 	of loose, delaminated and spalled sections. Repair any sections that do not meet these criteria.  	The surfaces to receive the CR(NC)-Series System will be sandblasted to exposed aggregate.  	Sandblasting increases surface area to increase bond capacity of the elastomeric concrete and 	removes all laitance and other bond-inhibiting contaminants. Tape off the edges of the concrete 	along the recess to protect the deck surface from spillage.

3.03     Installation

A.     Position the membrane over the open joint and press the bottom portion of the center section down between the concrete interfaces.

B.      Mix the Polycrete 2020 bedding material as per manufacturer’s directions. You may load the material into a bulk caulk gun. Place a 1” bead of Polycrete 2020 bedding mix to the area under the corner of the wing and the seal body. Then push the wing of the seal into the bedding, allowing material to “ooze” up through the holes in the seal. Spread out the remainder of the Polycrete 2020 to cover the entire recess surface including the vertical wall of the recess.

C.      Use a large Jiffy mixer paddle, mix the two Polycrete 1600 resin components together. Assure that there is no sign of streaking and the color is consistent. Add the sand and stone mixture. Blend the ingredients until there are no signs of sand pockets in the mix.

D.      Immediately place the mortar mix over the top of  the wings of the CR(NC)-Series membrane.  Completely fill the recess area. Compact the material so that no signs of honeycombing can occur.

E.       Level off the Polycrete 1600 and trowel the finish smooth. For best results, keep the 	surface of the trowel wiped clean.

F.       Allow the Polycrete to air cure for 4 - 12 hours. Clean up the work area, removing all 	containers, any extra materials, debris, etc.

G.       Prevent traffic from crossing the joints until the entire assembly is firmly cured.

3.04 	Field Quality Control

A.	Work, which does not conform to the specified requirements, will be corrected and/or 	replaced as directed by the manufacturer and engineer.

B.	Manufacturer/installer will supply guaranty/warranty to the owner authority, as required.

END OF SECTION